Microbiology & Molecular Biology Equipment:

- Automated system for identification and susceptibility testing – VC VITEK2 COMPACT 30-CLINICAL  (BIOMERIEUX /USA)

- Automated blood culture analyzer – BACT/ALERT (BIOMERIEUX /USA)

- MALDI-TOF – VC VITEK MS PRIME CLINICAL  (BIOMERIEUX /USA)

- Automated nucleic acid purification system – Gene Pure Pro Cat. NPA-32P (Bioer/ China)

- Real Time PCR – QuantStudio 5 Dx (Thermo Fisher Scientific/ Singapore)

- Automated real-time PCR – GXXVI-16 (Cepheid/ USA )

- PCR thermal cycler – T100 (BioRad/ USA)

- PCR WORKSTATION – AURA Mini Cat. LV30500 (BioAir/ Italy)

- Electroporation system – Neon Transfection System Starter Pack (Thermo Fisher Scientific-Invitrogen/ Korea)

Microscopy & Imaging Systems:

- Binocular microscope – SOLARIS-T-LED (BEL Engineering/Italy)

- Fluorescent microscope – Leica DMi8 (Leica Microsystem/ Germany)

- Inverted microscopes – Primovert (Carl Zeiss / China)

- Automated chemiluminescent imaging System – Chemi Doc MP (BioRad/ USA)

Centrifugation & Sample Preparation

- Automated cell counter – LUNA-II L40002 (Logosbio / Korea)

- Refrigerated Centrifuge – S300TR (Kubota/ Japan)

- Mini Spin Centrifuge – MPW M-SCIENCE (MPW MED Instruments/ Poland)

- Table Top Centrifuge – CENTRIC MF 220 (DOMEL/ Slovenia)

- Tube Centrifuge – S300T (Kubota/ Japan)

- Mini Plate Spinner Centrifuge – PlateSpin3 (Kubota/ Japan)

Shaking, Mixing & Temperature Control

- Tube Shaker – R3005 (Benchmark / China)

- Orbital shaker – VS 15 O (Lauda / Germany)

- Thermomixer – TS-100 (Biosan /Europe)

- Vortex mixers – 88882010 (Thermo Fisher Scientific/ China)

- Water Bath – WNE 22  (Memmert / Germany)

- Shaking incubators – Innova 42R (M1335-0002)  (Eppendorf / Germany)

Incubation & Storage

- CO2 Incubator – NU-8631E  (Nuaire inc./ USA)

- Laboratory incubator – Heratherm 51028130 - (Thermo Fisher Scientific/ Germany)

- Deep Freezer – Lexicon® II Ultra-low Temperature (ESCO/ Indonesia)

- Laboratory freezer – LB 5010 NFN (TEKNA LAB / Italy)

- Laboratory refrigerator – PM 5010 NFN (TEKNA LAB / Italy)

- Ice Box – BJPX-L55 (Biobase/ China)

- Portable Cooling Box – CR-19 (Biobase/ China)

Spectrophotometry & Chromatography

- UV Vis Spectrophotometer – NanoDrop OneC)  Thermo Fisher Scientific/ USA)

- Gas chromatography mass spectrometer (GCMS) – ISO 7610 - (Thermo Scientific)

- HPLC analyzer – DIONE X SD   (Thermo Scientific)

Electrophoresis & Blotting Systems

- Gel Electrophoresis system – Mini Sub Cell GT (BioRad/ USA(

- Automated ElectroPhoresis System – QLAxcel Connect (Qiagen/ Germany)

- Trans-blot turbo blotting system – Trans Blot Turbo (BioRad/ USA(

Safety & Containment Equipment

- Biological safety cabinet Class II – SafeMate PRIME 1.2  (BioAir/ Italy)

- Biological safety cabinet Class III – AC3-4B1 (ESCO/ Indonesia)

- Fume hood – FH 1200 (P) (Biobase/ China)

- Needle burner – Sharp X

General Laboratory Equipment

- ELISA Readers – 800 STUV - (Agilent Biotek instrument/USA)

- ELISA Washers – 50TS8 - (Agilent Biotek instrument/USA)

- PH meters – H15221-02 - (HANNA INSTRUMENT / USA, Europe)

- Analytical balance – M214AI- (Bel Engineering/ Italy)

- Hot plate with magnetic stirrer – DH. WMH03020

- Hot Air Oven – OFA-54-8 (ESCO/ Indonesia)

- Vertical Autoclave – LAC-5105SP (LAB TECH/ Korea)

Genetic Analysis & Sequencing

- Genetic Analyzer Sanger Sequencer – 3500 Genetic Analyzer (Thermo Scientific)

Next Generation Sequencing (NGS) – Ion GeneStudio S5 System (Thermo Scientific